## Distribution input form
Electricity Distribution Performance Reporting Form
Reporting year | FY2023-24
Licence holder | Horizon Power (EIRL2)
Contact person name | Gerard Chow
Position | Data Management Officer
Email address | gerard.chow@horizonpower.com.au
Phone number | (08) 6310 1935
Reporting category | Description | Indicator | Unit | Data input | Comments
Customer connections
| New connections provided | CCD 1 | Number of | 526
| New connections not provided by the agreed date | CCD 2 | Number of | 0
| Reconnections provided | CCD 4 | Number of | 7383
| Reconnections that were not provided within the prescribed timeframe | CCD 5 | Number of | 0
| Connections on the distribution system as of June 30 | CCD 7 | Number of | 53694
Complaints
| Complaints received (that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with) | NQR 7 | Number of | 45
| NQR7 complaints that were concluded within 15 business days | NQR 7A | Number of | 0
| Complaints received total (excluding NQR7 complaints) | CCD 8 | Number of | 352
| Administrative process or customer service complaints | CCD 9 | Number of | 352
| Total number of other complaints | CCD 10 | Number of | 0
| Customer complaints concluded within 15 business days (excluding indicator NQR7) | CCD 11 | Number of | 285
| Customer complaints concluded within 20 business days (excluding indicator NQR7) | CCD 13 | Number of | 307
| Complaints about the installation or operation of a pre-payment meter at a customer's supply address | CCD 19 | Number of | 12
| Pre-payment meter complaints resolved within 15 business days | CCD 20 | Number of | 12
Street lights
| Street lights reported faulty in the metropolitan area | CCD 24 | Number of | 131
| Street lights reported faulty in regional areas | CCD 25 | Number of | 224
| Street lights not repaired within five (5) days in the metropolitan area | CCD 26 | Number of | 15
| Street lights not repaired within nine (9) days in regional areas | CCD 28 | Number of | 30
| Street lights in the metropolitan area as of June 30 | CCD 30 | Number of | 7782
| Street lights in regional areas as of June 30 | CCD 31 | Number of | 11838
| Mean number of days to repair faulty street lights in the metropolitan area | CCD 32 | Days | 1.6
| Mean number of days to repair faulty street lights in the regional area | CCD 33 | Days | 4.051
Call centre performance
| Telephone calls to a call centre of the distributor | CCD 34 | Number of | 10683
| Telephone calls to a call centre answered within 30 seconds | CCD 35 | Number of | 5826
| Mean period before a call is answered | CCD 37 | Seconds | 78 | This is an averge of monthly average seconds to answer. More accurate figure not available.
| Calls unanswered | CCD 38 | Number of | 1923
Compensation payments
| Payments made under clause 14.4 of the Code of Conduct | CCD 22 | Number of | 0 | Failure to acknowledge/respond to written complaint within set time frames (acknowledge within 10 and respond within 20 business days)
| Total amount paid under clause 14.4 of the Code of Conduct |  | Dollars | 0 | Payment for CCD22
| Payments made under clause 14.5 of the Code of Conduct | CCD 23 | Number of | 56 | Wrongful Disconnections
| Total amount paid under clause 14.5 of the Code of Conduct |  | Dollars | 9520 | One customer received $120 goodwill credit for wrongful de-energisation. In previous Financial Year (FY2022-23) there was a payment of $120 to each of 555 customers in Fitzroy Crossing for 15-hour town outage on 24 Nov 2022.

## Data and derived distribution (hidden)
Reporting years | FY2023-24
FY2024-25
FY2025-26
FY2026-27
FY2027-28
FY2028-29
FY2029-30
Licencees
Western Power (EDL1)
BHP Nickel West Pty Ltd (EDL2)
TEC Desert Pty Ltd & TEC Desert No. 2 Pty Ltd (EDL3)
Peel Renewable Energy Pty Ltd (EDL7)
Goldfields Power Pty Ltd (EDL8)
Ocean Reef Renewable Energy Pty Ltd (EDL9)
Eglinton Village Energy Pty Ltd (EDL10)
Horizon Power (EIRL2)
Rottnest Island Authority (EIRL3)
Derived indicators | Description | Indicator | Unit | Derived output
| New connections not provided by the agreed date | CCD3 | Percentage | 0%
| Reconnections that were not provided within the prescribed timeframe | CCD6 | Percentage | 0%
| Customer complaints concluded within 15 business days (excluding indicator NQR7) - CCD8 | CCD 12 | Percentage | 80.97%
| Customer complaints concluded within 20 business days (excluding indicator NQR7) - CCD13 | CCD 14 | Percentage | 87.22%
| Total number of customer complaints {received in relation to CCD 8 and NQR 7 combined} concluded within 15 business days | CCD 15 | Number of | 285
| Percentage of customer complaints {received in relation to CCD 8 and NQR 19 combined} concluded within 15 business days | CCD 16 | Percentage | 86.36%
| Percentage of complaints relating to the installation and operation of a pre-payment meter at a pre-payment meter customer's supply address concluded within 15 business days | CCD 21 | Percentage | 100%
| Percentage of street lights not repaired within five (5) days in the metropolitan area | CCD 27 | Percentage | 11.45%
| Percentage of street lights not repaired within nine (9) days in the regional area | CCD 29 | Percentage | 13.39%
| Percentage of telephone calls to a call centre answered by a call centre operator within 30 seconds | CCD 36 | Percentage | 54.54%
| Percentage of the calls that are unanswered | CCD 39 | Percentage | 18%

## NQ&R input form
Electricity Network Quality & Reliability Performance Reporting Form
Reporting year | FY2023-24
Licence holder | Horizon Power
Contact person name | Gerard Chow
Position | Data Management Officer
Email address | gerard.chow@horizonpower.com.au
Phone number | (08) 6310 1935
Reporting category | Description | Indicator | Unit | Data input | Comments
Network & Asset Information
Metered supply points by feeder category (customer type) |  | NQR 12
Residential
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 770 | Unable to determine if Meter Supply Point is Residential or Non-residential. Total value provided.
| Short rural |  | Number of | 50768 | Unable to determine Meter Supply Point is Residential or Non-residential. Total value provided.
| Long rural |  | Number of | 2094 | Unable to determine Meter Supply Point is Residential or Non-residential. Total value provided.
| Standalone power systems |  | Number of | 79 | Unable to determine Meter Supply Point is Residential or Non-residential. Total value provided.
Non-residential
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | N/A | Unable to determine Meter Supply Point is Residential or Non-residential. Total value provided in Residential.
| Short rural |  | Number of | N/A | Unable to determine Meter Supply Point is Residential or Non-residential. Total value provided in Residential.
| Long rural |  | Number of | N/A | Unable to determine Meter Supply Point is Residential or Non-residential. Total value provided in Residential.
| Standalone power systems |  | Number of | N/A | Unable to determine Meter Supply Point is Residential or Non-residential. Total value provided in Residential.
Metered supply points by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | N/A
| Short rural |  | Number of | N/A
| Long rural |  | Number of | N/A
| Standalone power systems |  | Number of | N/A
High voltage
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | N/A
| Short rural |  | Number of | N/A
| Long rural |  | Number of | N/A
| Standalone power systems |  | Number of | N/A
Low voltage
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 770 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Number of | 50768 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Number of | 2094
| Standalone power systems |  | Number of | 79
Unmetered supply points |  | NQR 13
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 6 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Number of | 597 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Number of | 29
Energy delivered by feeder category (customer type) |  | NQR14
Residential
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 17.684 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | GWh | 807.7307 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | GWh | 4.5766
Non-residential
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 5.9114 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | GWh | 356.4683 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | GWh | 10.2807
Energy delivered by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 0 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | GWh | 1.4986 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | GWh | 0
High voltage
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 3.154 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | GWh | 315.9089 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | GWh | 0
Low voltage
| Perth CBD only |  | GWh | N/A
| Urban areas excluding Perth CBD |  | GWh | 20.4414 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | GWh | 846.7916 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | GWh | 14.8573
Line length by feeder category (line type) |  | NQR15
Underground lines
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | 464.2742 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | km | 2103.1424 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | km | 60.0037
Overhead lines
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | 46.5903 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | km | 2216.5191 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | km | 3152.4604 | Reduction in Overhead in Long Rural network due to SPS installations in Esperance Rural Network.
Line length by feeder category (supply voltage)
Sub-transmission voltage
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | N/A | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | km | N/A | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | km | N/A
High voltage
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | 38.4417 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | km | 2643.7251 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | km | 3050.693 | Reduction in HV Overhead in Long Rural network due to SPS installations in Esperance Rural Network.
Low voltage
| Perth CBD only |  | km | N/A
| Urban areas excluding Perth CBD |  | km | 38.8052 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | km | 2121.0646 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | km | 60.4966 | Reduction in LV Overhead in Long Rural network due to SPS installations in Esperance Rural Network.
Other asset information
| Sub-transmission transformers | NQR16 | Number of | N/A
| Total capacity of sub-transmission transformers |  | MVA | N/A
| Distribution transformers |  | Number of | 4407
| Total capacity of distribution transformers |  | MVA | 862.73
| Total distribution losses | NQR17 | Percentage | N/A
| Size of network service area | NQR18 | km2 | N/A
| Total poles | NQR19 | Number of | 57747 | Distribution + Transmission Poles
| Peak electrical demand | NQR20 | MW | N/A
Network Reliability
Extended or frequent interruptions
| Small use customer premises interrupted for more than 12 hours continuously (whole network) | NQR1 | Number of | 596 | Factors in the reduction in the number of premises with over 12 hour outages was in 2022/23, Fitzroy Crossing had a town outage affecting over 500 premises and the Kimberley Floods and there were no significant weather events in FY2023/24.
| Interruptions to small use customers that lasted for more than 12 hours continuously (whole network) |  | Number of | 117
| Small use customer premises interrupted more than 9 times (urban areas) | NQR2 | Number of | N/A
| Small use customer premises interrupted more than 16 times (non-urban areas) |  | Number of | 375
Mean duration of supply interruption to premises for each discrete area |  | NQR3
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | N/A
| Non-urban areas |  | Minutes | 86.68
| Standalone power systems |  | Minutes | 435.24
Mean number of supply interruptions to premises for each discrete area |  | NQR4
| Perth CBD only |  | Number | N/A
| Urban areas excluding Perth CBD |  | Number | N/A
| Non-urban areas |  | Number | 2.64
| Standalone power systems |  | Number | 0.14
Mean percentage of time that electricity has been supplied to premises for each discrete area |  | NQR5
| Perth CBD only |  | Percentage | N/A
| Urban areas excluding Perth CBD |  | Percentage | N/A
| Non-urban areas |  | Percentage | 99.98% | Actually 99.98%. Cell value is rounding up to 100%
| Standalone power systems |  | Percentage | 99.92% | Actually 99.92%. Cell value is rounding down to 99.9%
Mean cumulative duration of supply interruptions to premises |  | NQR6
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | N/A
| Non-urban areas |  | Minutes | 228.1
| Standalone power systems |  | Minutes | 176.51
SAIDI & SAIFI inputs
Customer base | Perth CBD only |  |  | N/A
| Urban areas excluding Perth CBD |  |  | 766
| Short rural |  |  | 50698
| Long rural |  |  | 2105
Sum of all customer outage durations (total network) |  | FC 1 - 12
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | 367251.5 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Minutes | 8034575.87 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Minutes | 2042658.25
Sum of all customer outage durations (distribution network - planned)
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | 6211.71 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Minutes | 2212628.53 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Minutes | 435577.73
Sum of all customer outage durations (distribution network - unplanned)
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | 361039.79 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Minutes | 5821947.34 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Minutes | 1607080.52
Sum of all customer outage durations (normalised distribution network)
| Perth CBD only |  | Minutes | N/A
| Urban areas excluding Perth CBD |  | Minutes | 360571.8 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Minutes | 5572993.9 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Minutes | 1582005.9
Unique customer interruptions (total network)
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 733 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Number of | 117939 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Number of | 12900
Unique customer interruptions (distribution network - planned)
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 74 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Number of | 13084 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Number of | 1442
Unique customer interruptions (distribution network - unplanned)
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 659 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Number of | 104855 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Number of | 11458
Unique customer interruptions (normalised distribution network)
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | 650 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Short rural |  | Number of | 103654 | The difference in short rural and urban feeders numbers is mainly due to recategorising feeder types based on the 0.3MVA/km urban criteria
| Long rural |  | Number of | 11295
Complaints
Complaints received by discrete area |  | NQR8
| Perth CBD only |  | Number of | N/A
| Urban areas excluding Perth CBD |  | Number of | N/A
| Standalone power systems |  | Number of | 0
| All other areas |  | Number of | 45
NQR9
| Total amount spent in addressing complaints {that Part 2 or an instrument made under section 14(3) of the NQ&R Code has not been, or is not being, complied with} other than by way of payment under sections 18 and 19 {of the NQ&R Code} |  | Dollars | 1456527.86
Quality of service (QoS) complaints | Technical QoS complaints | NRR1 | Number of | 0
| Technical QoS complaints for low supply voltage | NRR2 | Number of | 4 | 4 x Low Volts
| Technical QoS complaints for voltage dips | NRR4 | Number of | 0
| Technical QoS complaints for voltage swell | NRR6 | Number of | 0
| Technical QoS complaints for voltage spikes | NRR8 | Number of | 0
| Technical QoS complaints for waveform distortion | NRR10 | Number of | 0
| Technical QoS complaints for TV or radio interference | NRR12 | Number of | 0
| Technical QoS complaints for appliance noise | NRR14 | Number of | 0
| Technical QoS complaints - all other issues | NRR16 | Number of | 4 | 4 x Voltage Fluctuations
Likely source of service quality complaints |  | NRR18
| Network equipment faulty - Total Number |  | Number of | 3 | 3 x DOF, 1 x Loose Conductor Connection
| Network interference by NSP equipment - Total Number |  | Number of | 0
| Network interference by another customer - Total Number |  | Number of | 0
| Network limitation - Total Number |  | Number of | 0
| Customer internal problem - Total Number |  | Number of | 0
| No problem identified - Total Number |  | Number of | 0
| Environmental - Total Number |  | Number of | 5 | 2 x Birds, 3 x Lightning
| Other - Total Number |  | Number of | 0
Compensation payments
Payments under section 18 of NQ&R Code |  | NQR 10
| Payments made |  | Number of | 1 | Failure to give required notice of planned interruption payments
| Sum of payments made |  | Dollars | 20
Payments under section 19 of NQ&R Code |  | NQR 11
| Payments made |  | Number of | 40 | Over 12 hour interruption payments
| Sum of payments made |  | Dollars | 4800

## Data and derived NQR (hidden)
Reporting years | FY2023-24
FY2024-25
FY2025-26
FY2026-27
FY2027-28
FY2028-29
FY2029-30
Licensees | Horizon Power
Rottnest Island Authority
Western Power
Peel Renewable Energy Pty Ltd
Derived functions
Complaints | Total number of complaints received that Part 2, or an instrument made under section 14(3) of the NQ&R Code, has not been complied with. | NQR 7 | Number | 45
| Percentage of technical QoS complaints that are low supply voltage complaints | NQR 24 | Percentage
| Percentage of technical QoS complaints that are voltage dip complaints | NQR 26 | Percentage
| Percentage of technical QoS complaints that are voltage swell complaints | NQR 28 | Percentage
| Percentage of technical QoS complaints that are voltage spike complaints | NQR 30 | Percentage
| Percentage of technical QoS complaints that are waveform distortion complaints | NQR 32 | Percentage
| Percentage of technical QoS complaints that are TV or radio interference complaints | NQR 34 | Percentage
| Percentage of technical QoS complaints that are noise from appliances complaints | NQR 36 | Percentage
| Percentage of technical QoS complaints that are other complaints | NQR 38 | Percentage
| Network equipment faulty - Percentage |  | Percentage
| Network interference by NSP equipment - Percentage |  | Percentage
| Network interference by another customer - Percentage |  | Percentage
| Network limitation - Percentage |  | Percentage
| Customer internal problem - Percentage |  | Percentage
| No problem identified - Percentage |  | Percentage
| Environmental - Percentage |  | Percentage
| Other - Percentage |  | Percentage
SAIDI
Overall
| Whole network |  | Minutes | 194.9726
| Perth CBD only |  | Minutes | #VALUE!
| Urban areas excluding Perth CBD |  | Minutes | 479.4406
| Short rural |  | Minutes | 158.4791
| Long rural |  | Minutes | 970.384
Distribution network - planned
| Whole network |  | Minutes | 49.5514
| Perth CBD only |  | Minutes | #VALUE!
| Urban areas excluding Perth CBD |  | Minutes | 8.1093
| Short rural |  | Minutes | 43.6433
| Long rural |  | Minutes | 206.9253
Distribution network - unplanned
| Whole network |  | Minutes | 145.4212
| Perth CBD only |  | Minutes | #VALUE!
| Urban areas excluding Perth CBD |  | Minutes | 471.3313
| Short rural |  | Minutes | 114.8358
| Long rural |  | Minutes | 763.4587
Normalised distribution network
| Whole network |  | Minutes | 140.297
| Perth CBD only |  | Minutes | #VALUE!
| Urban areas excluding Perth CBD |  | Minutes | 470.7204
| Short rural |  | Minutes | 109.9253
| Long rural |  | Minutes | 751.5467
SAIFI
Overall
| Whole network |  | Number of | 2.4561
| Perth CBD only |  | Number of | #VALUE!
| All urban areas |  | Number of | 0.95692
| Short rural |  | Number of | 2.3263
| Long rural |  | Number of | 6.1283
Distribution network - planned
| Whole network |  | Number of | 0.27255
| Perth CBD only |  | Number of | #VALUE!
| All urban areas |  | Number of | 0.096606
| Short rural |  | Number of | 0.25808
| Long rural |  | Number of | 0.68504
Distribution network - unplanned
| Whole network |  | Number of | 2.1836
| Perth CBD only |  | Number of | #VALUE!
| All urban areas |  | Number of | 0.86031
| Short rural |  | Number of | 2.0682
| Long rural |  | Number of | 5.4432
Normalised distribution network
| Whole network |  | Number of | 2.1579
| Perth CBD only |  | Number of | #VALUE!
| All urban areas |  | Number of | #VALUE!
| Short rural |  | Number of | #VALUE!
| Long rural |  | Number of | 0
CAIDI
Cumulative duration of customer outages (net total)
| Whole network |  | SAIDI/SAIFI | 79.3823
| Perth CBD only |  | SAIDI/SAIFI | #VALUE!
| All urban areas |  | SAIDI/SAIFI | 501.0252
| Short rural |  | SAIDI/SAIFI | 68.1248
| Long rural |  | SAIDI/SAIFI | 158.3456
Cumulative duration of customer outages (distribution network - planned)
| Whole network |  | SAIDI/SAIFI | 181.8094
| Perth CBD only |  | SAIDI/SAIFI | #VALUE!
| All urban areas |  | SAIDI/SAIFI | 83.942
| Short rural |  | SAIDI/SAIFI | 169.1095
| Long rural |  | SAIDI/SAIFI | 302.065
Cumulative duration of customer outages (distribution network - unplanned)
| Whole network |  | SAIDI/SAIFI | 66.5977
| Perth CBD only |  | SAIDI/SAIFI | #VALUE!
| All urban areas |  | SAIDI/SAIFI | 547.8601
| Short rural |  | SAIDI/SAIFI | 55.5238
| Long rural |  | SAIDI/SAIFI | 140.2584
Cumulative duration of customer outages (normalised distribution network)
| Whole network |  | SAIDI/SAIFI | 65.0142
| Perth CBD only |  | SAIDI/SAIFI | #VALUE!
| All urban areas |  | SAIDI/SAIFI | #VALUE!
| Short rural |  | SAIDI/SAIFI | #VALUE!
| Long rural |  | SAIDI/SAIFI | #DIV/0!
| Metered supply points total (residential) |  | Number of | 53711
| Metered supply points total (non-residential) |  | Number of | 0
| Metered supply points (STV) |  | Number of | 0
| Metered supply points (HV) |  | Number of | 0
| Metered supply points (LV) |  | Number of | 53711